## Deutsch
Kabel Validierungsliste
Aktualisierungsdatum: |  | 2022-11-21 | Deutsche Version
Die nachfolgenden Aussagen beziehen sich auf AGRO AG Kabelverschraubungen der Serie 1089, EVolution EMC.
Anmerkungen zu den Prüfungen:
IP68 Es wurde nicht jedes einzelne Kabel geprüft. Aufgrund unserer Erfahrungen und der durchgeführten Prüfungen der letzten Jahrzehnte, bzw. Prüfungen mit vergleichbaren Kabel, kommen wir zu der Aussage in untenstehender Tabelle. Sollte eine Prüfung mit Prüfbericht erforderlich sein, bitten wir Sie dies bei uns anzufragen.
EN 62444 Bei Einleiterkabel werden stellvertretend für das Kabel die Kabelverschraubungen mit einem Prüfdorn geprüft. Man erhält dadurch vergleichbare Messergebnisse der unterschiedlichen Kabelverschraubungen, welche nicht durch unterschiedliche Qualitäten der Kabel beeinflusst werden. Aus diesem Grund wurden bei den unten genannten Kabel, in der Spalte EN 62444, die Prüfungen, der Norm entsprechend, mit einem Prüfdorn durchgeführt.
IP6K9K Bei der IP6K9K Prüfung haben wir im eigenen Labor "nur" den Wasserteil des Tests durchgeführt, die Staubprüfung 6K nach ISO 20653 können wir in unserem Labor nicht durchführen. Die durchgeführten Tests der IP6X Prüfung (EN IEC 60529), welche bei IP68 geprüft wird, sind jedoch anspruchsvoller, da hier mit Unterdruck getestet wird.
Anforderungen erfüllt Bei genormten Kabel werden nicht alle Kabel der unterschiedlichen Hersteller geprüft. Da die Kabel einer Norm entsprechen, betrachten wir es als ausreichend, wenn bei gleichen Kabel, unterschiedlicher Hersteller, lediglich ein Kabel getestet wird und dieses Ergebnis auch bei gleichen Kabel anderer Hersteller zugrunde gelegt wird. Sollte eine Prüfung mit Prüfbericht erforderlich sein, bitten wir Sie dies bei uns anzufragen.
Prüfungen
Kabeltyp | Hersteller | Kabelquerschnitt [mm²] | Artikelnummer | M-Gewinde | 1089 EVolution EMC Größe | Kabelnorm | IP68 | IP6K9K | EN 62444 Zugentlastung Ausführung B [N] | Anforderungen erfüllt
Einleiter | Coroplast / Coroflex | 16 | 9-2610 / 9-2611 | M20 | 103 | LV 216-2 | þ | þ | >120 | þ
Einleiter | Kromberg + Schubert | 16 | 64995560 | M20 | 103 | LV 216-2 | þ | þ | >120 | þ
Einleiter | Huber + Suhner | 16 | Radox 155(S) 84 116 032 | M20 | 098 | ISO 14572/ISO 19642-9 | þ | þ | >120 | þ
Einleiter | Huber + Suhner | 25 | Radox 155(S) 84 100 604 | M20 | 114 | ISO 14572/ISO 19642-9 | þ | þ | >130 | þ
Einleiter | Champlain | 25 | FHLR13XC13X | M20 | 114 | ISO-19642-9 | þ | þ | >130 | þ
Einleiter | Coroflex | 35 | 9-2611 | M20 / M25 | 146 | LV 216-2 | þ | þ | >130 | þ
Einleiter | Kromberg + Schubert | 35 | 64995564 | M20 / M25 | 146 | LV 216-2 | þ | þ | >130 | þ
Einleiter | Huber + Suhner | 35 | Radox 155(S) 84 100 296 | M20 / M25 | 132 | ISO 14572/ISO 19642-9 | þ | þ | >130 | þ
Einleiter | Leoni Silitherm | 50 | FHLR2GCB2G 00019 | M25 | 160 | LV 216-2 | þ | þ | >140 | þ
Einleiter | Kromberg + Schubert | 50 | 64995566 | M25 | 160 | LV 216-2 | þ | þ | >140 | þ
Einleiter | Huber + Suhner | 50 | Radox 155(S) 84 096 257 | M25 | 154 | ISO 14572/ISO 19642-9 | þ | þ | >130 | þ
Einleiter | Coroflex | 50 | 9-2611 FHLR2GCB2G | M25 | 160 | LV 216-2 | þ | þ | >140 | þ
Einleiter | Kromberg + Schubert | 70 | 64997451 | M25 / M32 | 184 | LV 216-2 | þ | þ | >140 | þ
Einleiter | Huber + Suhner | 70 | Radox 155(S) 84 100 298 | M25 / M32 | 175 | ISO 14572/ISO 19642-9 | þ | þ | >140 | þ
Einleiter | Kromberg + Schubert | 95 | 64997452 | M32 | 210 | LV 216-2 | þ | þ | >140 | þ
Einleiter | Coroflex | 95 | 9-2611 | M32 | 210 | LV 216-2 | þ | þ | >140 | þ
Einleiter | Huber + Suhner | 95 | Radox 155(S) 84 100 299 | M32 | 200 | ISO 14572/ISO 19642-9 | þ | þ | >140 | þ
Einleiter | Kromberg + Schubert | 120 | 64997453 | M32 | 231 | LV 216-2 | þ | þ | >140 | þ
Einleiter | Leoni Silitherm | 120 | FHLR2GCB2G 000113 | M32 | 231 | LV 216-2 | þ | þ | >140 | þ
Einleiter | Huber + Suhner | 120 | Radox 155(S) 84 103 410 | M32 | 227 | ISO 14572/ISO 19642-9 | þ | þ | >140 | þ
Mehrleiter | Kromberg + Schubert | 2x2,5 | 64996918 | M20 | 098 | LV 216-2 | þ | þ | >120 | þ
Mehrleiter | Coroflex | 2x2,5 | 9-2641 FHLR2GCB2G | M20 | 098 | LV 216-2 | þ | þ | >120 | þ
Mehrleiter | Coroflex | 2x4 | 64997774 | M20 | 114 | LV 216-2 | þ | þ | >130 | þ
Mehrleiter | Kromberg + Schubert | 2x4 | 64997293 | M20 | 114 | LV 216-2 | þ | þ | >130 | þ
Mehrleiter | Coroflex | 2x4 | 9-2641 FHLR2GCB2G | M20 | 114 | LV 216-2 | þ | þ | >130 | þ
Mehrleiter | Leoni Silitherm | 2x4 | FHLR2G2GCB2G 00002 | M20 | 114 | LV 216-2 | þ | þ | >130 | þ
Mehrleiter | Kromberg + Schubert | 2x4 + 2x0,5 | 64994093 | M20 | 114 | LV 216-2 | þ | þ | >130 | þ
Mehrleiter | Kromberg + Schubert | 2x6 | 64997213 | M20 / M25 | 132 | LV 216-2 | þ | þ | >130 | þ
Mehrleiter | Kromberg + Schubert | 2x6 | 64995979 | M20 / M25 | 132 | LV 216-2 | þ | þ | >130 | þ
Mehrleiter | Kromberg + Schubert | 2x6 | 64995731 | M20 | 114 | LV 216-2 | þ | þ | >130 | þ
Mehrleiter | Kromberg + Schubert | 2x6 | 64997775 | M20 / M25 | 132 | LV 216-2 | þ | þ | >130 | þ
Mehrleiter | Coroflex | 2x6 | 9-2641 FHLR2GCB2G | M20 / M25 | 132 | LV 216-2 | þ | þ | >130 | þ
Mehrleiter | Brugg | 3x6 | FL11YCB11Y | M25 | 154 | keine Info | þ | þ | >130 | þ
Mehrleiter | Huber + Suhner | 3x6 | Radox 155(S) 85 025 197 | M20 / M25 | 132 | ISO 14572/ISO 19642-9 | þ | þ | >130 | þ
Mehrleiter | Huber + Suhner | 4x2,5 | Radox 155(S) 12 585 651 | M20 | 098 | ISO 14572/ISO 19642-9 | þ | þ | >120 | þ
Mehrleiter | Huber + Suhner | 4x4 | Radox 155(S) 12 585 652 | M20 | 114 | ISO 14572/ISO 19642-9 | þ | þ | >130 | þ
Mehrleiter | Leoni Silitherm | 4x6 | FHLR2G2GCB2G 00011 | M25 | 154 | LV 216-2 | þ | þ | >130 | þ
Mehrleiter | Huber + Suhner | 4x6 | Radox 155(S) 85 070 512 | M20 / M25 | 132 | ISO 14572/ISO 19642-9 | þ | þ | >130 | þ
Mehrleiter | Huber + Suhner | 4x10 | Radox 155(S) 84 137 053 | M25 / M32 | 175 | ISO 14572/ISO 19642-9 | þ | þ | >140 | þ
Mehrleiter | Coroflex | 5x6 | 9-2641 FHLR2GCB2G | M25 | 160 | LV 216-2 | þ | þ | >140 | þ
Mehrleiter | Kromberg + Schubert | 5x6 | 64997778 | M25 | 160 | LV 216-2 | þ | þ | >140 | þ
Weitere Kabel, welche zu den EVolution EMC Bauteilen passen aber noch nicht validiert wurden.
SD
Schirmgeflecht
AD_Kabel

## zusätzliche Kabel
Weitere Kabel, welche zur den EVolution EMC Bauteilen passen
aber noch nicht validiert wurden.
Toleranz AD_Kabel
| Kabeltyp | AD_Kabel | obere Toleranz | untere Toleranz | min. AD_Kabel | max. AD_Kabel | SD | M-Gewinde | 1089 EVolution EMC Größe
1 | Normkabel, 3x 2.5mm2, dünnwandig, - ISO 19642-9 | 9.5 | 0 | -0.7 | 8.8 | 9.5 | 7.6 | M20 | 98
2 | LS Cable South Korea, FHLR2GC2G-A,1x16mm2, - ISO 19642 | 9.6 | 0 | -0.6 | 9 | 9.6 | 7.6 | M20 | 98
3 | Normkabel, 1x 16mm2, dünnwandig, - ISO 19642-9 | 9.6 | 0 | -0.6 | 9 | 9.6 | 7.8 | M20 | 98
4 | LS Cable South Korea, FHL91XC91X-A,1x10mm2,- ISO 19642 | 9.7 | 0 | -0.6 | 9.1 | 9.7 | 7 | M20 | 98
5 | Normkabel, 1x 10mm2, dickwandig, - ISO 19642-9 | 9.7 | 0 | -0.6 | 9.1 | 9.7 | 7.1 | M20 | 98
6 | Leoni Silitherm, 2x2.5mm2, Art.-Nr. FHLR2G2GCB2G 00001 | 9.7 | 0.2 | -0.2 | 9.5 | 9.9 | 7.5 | M20 | 98
7 | Leoni Hivocar 200 S multi core, 2x 2.5mm2, ISO 6722 | 9.9 | 0 | -0.6 | 9.3 | 9.9 | 7.5 | M20 | 98
8 | Leoni Silitherm, 3x 2.5mm2, Art.-Nr. FHLR2G2GCB2G 00004 | 10 | 0.2 | -0.2 | 9.8 | 10.2 | 8.1 | M20 | 103
9 | H+S, Radox, 2x 4mm2, Art.-Nr. 12 582 308 - ISO 19642-9 | 10.2 | 0.3 | -0.3 | 9.9 | 10.5 | 7.8 | M20 | 103
10 | Leoni BetaTrans, 1x 16mm2, Art.-Nr. 315137 | 10 |  |  | 10 | 10 |  | M20 | 103
11 | H+S, Radox, 3x 4mm2, Art.-Nr. 84 090 304 - ISO 19642-9 | 10.1 | 0.4 | 0.4 | 10.5 | 10.5 | 8.4 | M20 | 103
12 | Leoni BetaTrans, 3x 2.5mm2, Art.-Nr. * | 10.3 |  |  | 10.3 | 10.3 |  | M20 | 103
13 | Coroflex, 3x 2.5mm2, Art-Nr. 9-2641 | 10.4 | 0 | -0.6 | 9.8 | 10.4 | 8.1 | M20 | 103
14 | Leoni Hivocar 200 S multi core, 3x 2.5mm2 | 10.4 | 0 | -0.6 | 9.8 | 10.4 | 8.2 | M20 | 103
15 | Leoni Hivocar 200 S single core, 1x16mm2, ISO 6722 | 10.2 | 0 | -0.6 | 9.6 | 10.2 | 7.8 | M20 | 103
16 | Normkabel, 4x 2.5mm2, dünnwandig, - ISO 19642-9 | 10.4 | 0 | -0.7 | 9.7 | 10.4 | 8.4 | M20 | 103
17 | Brugg Kabel 1x 16mm2, FL11YC11Y - Art.-Nr.533007 | 10.2 |  |  | 10.2 | 10.2 | 7.8 | M20 | 103
18 | Normkabel, 2x 4mm2, dünnwandig, - ISO 19642-9 | 10.6 | 0 | -0.7 | 9.9 | 10.6 | 8.6 | M20 | 114
19 | H+S, Radox, 1x 25mm2, Art.-Nr. 85 128 293 - ISO 19642-9 "Flex" | 11 | 0.3 | -0.3 | 10.7 | 11.3 |  | M20 | 114
20 | H+S, Radox, 2x 6mm2, Art.-Nr. 12 584 915 - ISO 19642-9 | 11 | 0.4 | -0.4 | 10.6 | 11.4 | 9 | M20 | 114
21 | Normkabel, 3x 4mm2, dünnwandig, - ISO 19642-9 | 11.2 | 0 | -0.7 | 10.5 | 11.2 | 9.2 | M20 | 114
22 | Coroflex, 4x 2.5mm2, Art-Nr. 9-2641 | 11.1 | 0 | -0.6 | 10.5 | 11.1 | 8.8 | M20 | 114
23 | Coroplast, 2x 4mm2, Art-Nr. 9-2641 | 11.3 | 0 | -0.6 | 10.7 | 11.3 | 8.8 | M20 | 114
24 | Leoni Hivocar 200 S multi core, 2x 4mm2 | 11.3 | 0 | -0.6 | 10.7 | 11.3 | 9.1 | M20 | 114
25 | LS Cable South Korea, FHLR2GC2G-A,1x 25mm2, - ISO 19642 | 11.3 | 0 | -0.6 | 10.7 | 11.3 | 9.2 | M20 | 114
26 | Kroschu, multi-core T125, 2x 4mm2, Art.-Nr.FHLR31Y9YCB11Y | 11.3 | 0 | -0.6 | 10.7 | 11.3 | 8.7 | M20 | 114
27 | Normkabel, 1x 25mm2, dünnwandig, - ISO 19642-9 | 11.3 | 0 | -0.6 | 10.7 | 11.3 | 9.2 | M20 | 114
28 | Normkabel, 2x 2.5mm2, dickwandig, - ISO 19642-9 | 11.9 | 0 | -0.8 | 11.1 | 11.9 | 8.7 | M20 | 114
29 | Amphenol 1x16mm2, PowerLink - ISO 6722 | 11.2 | 0.3 | 0 | 11.2 | 11.5 | 8.75 | M20 | 114
30 | Leoni BetaTrans, 1x 25mm2, Art.-Nr. 315138 | 12.5 |  |  | 12.5 | 12.5 |  | M20 / M25 | 132
31 | Normkabel, 3x 2.5mm2, dickwandig, - ISO 19642-9 | 12.5 | 0 | -0.8 | 11.7 | 12.5 | 9.5 | M20 / M25 | 132
32 | Leoni Silitherm, 2x6mm2, Art.-Nr. FHLR2G2GCB2G 00003 | 12.6 | 0.2 | -0.2 | 12.4 | 12.8 | 10.3 | M20 / M25 | 132
33 | Normkabel, 3x 6mm2, dünnwandig, - ISO 19642-9 | 12.7 | 0 | -0.8 | 11.9 | 12.7 | 10.5 | M20 / M25 | 132
34 | Leoni Hivocar 200 S multi core, 2x 6mm2 | 12.8 | 0 | -0.6 | 12.2 | 12.8 | 10.4 | M20 / M25 | 132
35 | H+S, Radox, 2x 8mm2, Art.-Nr. 85 028 256 - ISO 19642-9 | 12.8 | 0.4 | -0.4 | 12.4 | 13.2 | 11 | M20 / M25 | 132
36 | H+S, Radox, 1x 35mm2, Art.-Nr. 85 128 292 - ISO 19642-9 | 12.9 | 0.3 | -0.3 | 12.6 | 13.2 |  | M20 / M25 | 132
37 | Leoni Silitherm, 4x4mm2, Art.-Nr. FHLR2G2GCB2G 00012 | 13.1 | 0.2 | -0.2 | 12.9 | 13.3 | 10.5 | M20 / M25 | 132
38 | LS Cable South Korea, FHLR2GC2G-A,1x35mm2, - ISO 19642 | 13.2 | 0 | -0.6 | 12.6 | 13.2 | 10.8 | M20 / M25 | 132
39 | Normkabel, 1x 35mm2, dünnwandig, - ISO 19642-9 | 13.2 | 0 | -0.6 | 12.6 | 13.2 | 11 | M20 / M25 | 132
40 | Coroflex, 4x 4mm2, Art-Nr. 9-2641 | 13.3 | 0 | -0.6 | 12.7 | 13.3 | 10.8 | M20 / M25 | 132
41 | Kroschu, multi-core T125, 4x4mm2, Art.-Nr.FHLR31Y9YCB11Y | 13.3 | 0 | -0.6 | 12.7 | 13.3 | 10.8 | M20 / M25 | 132
42 | Leoni BetaTrans, 4x 4mm2, Art.-Nr. 316001 | 14.2 |  |  | 14.2 | 14.2 |  | M20 / M25 | 146
43 | Leoni Silitherm, 5x4mm2, Art.-Nr. FHLR2G2GCB2G 00008 | 14.2 | 0.3 | -0.3 | 13.9 | 14.5 | 11.8 | M20 / M25 | 146
44 | Leoni Hivocar 200 S single core, 1x 35mm2, ISO 6722 | 14.4 | 0 | -0.6 | 13.8 | 14.4 |  | M20 / M25 | 146
45 | H+S, Radox, 2x 10mm2, Art.-Nr. 84 152 097 - ISO 19642-9 | 14.4 | 0.4 | -0.4 | 14 | 14.8 | 12.4 | M20 / M25 | 146
46 | H+S, Radox, 5x 6mm2, Art.-Nr. 84 130 729 - ISO 19642-9 | 14.4 | 0.4 | -0.4 | 14 | 14.8 | 12.4 | M20 / M25 | 146
47 | Coroflex, 5x 4mm2, Art-Nr. 9-2641 | 14.5 | 0 | -0.6 | 13.9 | 14.5 | 11.9 | M20 / M25 | 146
48 | Normkabel, 3x 4mm2, dickwandig, - ISO 19642-9 | 14.6 | 0 | -0.6 | 14 | 14.6 | 11.2 | M20 / M25 | 146
49 | Brugg Kabel, 3x 6mm2, FL11YBC11Y - Art. 533016 | 14.5 |  |  | 14.5 | 14.5 | 11.7 | M20 / M25 | 146
50 | Leoni BetaTrans, 3x 6mm2, Art.-Nr. 316002 | 14.8 |  |  | 14.8 | 14.8 |  | M25 | 154
51 | H+S, Radox, 1x 50mm2, Art.-Nr. 85 128 294 - ISO 19642-9 "Flex" | 14.9 | 0.3 | -0.3 | 14.6 | 15.2 | 13 | M25 | 154
52 | Coroflex, 4x 6mm2, Art-Nr. 9-2641 | 15.1 | 0 | -0.6 | 14.5 | 15.1 | M25 | M25 | 154
53 | LS Cable South Korea, FHLR2GC2G-A,1x50mm2, - ISO 19642 | 15.2 | 0 | -0.6 | 14.6 | 15.2 | 12.7 | M25 | 154
54 | Normkabel, 1x 50mm2, dünnwandig, - ISO 19642-9 | 15.2 | 0 | -0.6 | 14.6 | 15.2 | 12.8 | M25 | 154
55 | Normkabel, 2x 2.5mm2, dickwandig, - ISO 19642-9 | 15.2 | 0 | -0.9 | 14.3 | 15.2 | 11.8 | M25 | 154
56 | LS Cable South Korea, FHL91XC91X-A,1x35mm2, - ISO 19642 | 15.4 | 0 | -0.6 | 14.8 | 15.4 | 12.2 | M25 | 154
57 | Normkabel, 1x 35mm2, dickwandig, - ISO 19642-9 | 15.4 | 0 | -0.6 | 14.8 | 15.4 | 12.2 | M25 | 154
58 | Amphenol 1x35mm2, PowerLink - ISO 6722 | 14.5 | 0.5 | 0 | 14.5 | 15 | 12.2 | M25 | 154
59 | Brugg Kabel 1x 50mm2, FL11YC11Y - Art. 533004 | 14.9 |  |  | 14.9 | 14.9 | 11.9 | M25 | 154
60 | Normkabel, 2x 10mm2, dünnwandig, - ISO 19642-9 | 15.7 | 0 | -0.9 | 14.8 | 15.7 | 13.6 | M25 | 160
61 | Leoni Hivocar 200 S single core, 1x 50mm2, ISO 6722 | 15.8 | 0 | -0.8 | 15 | 15.8 | 12.8 | M25 | 160
62 | Tramadox TI Brasil, 3x 6mm2, Art 02.20.1.0004, ISI 6722 | 15.45 | 0.3 | -0.3 | 15.15 | 15.75 | 11.75 | M25 | 160
63 | H+S, Radox, 1x 70mm2, Art.-Nr. 85 010 927 - ISO 19642-9 "Flex" | 17 | 0.4 | -0.4 | 16.6 | 17.4 | 15.2 | M25 / M32 | 175
64 | Leoni BetaTrans, 3x10mm2, Art.-Nr. * | 17.4 |  |  | 17.4 | 17.4 |  | M25 / M32 | 175
65 | LS Cable South Korea, FHLR2GC2G-A,1x70mm2, - ISO 19642 | 17.4 | 0 | -0.8 | 16.6 | 17.4 | 14.9 | M25 / M32 | 175
66 | Normkabel, 1x 70mm2, dünnwandig, - ISO 19642-9 | 17.4 | 0 | -0.8 | 16.6 | 17.4 | 15 | M25 / M32 | 175
67 | LS Cable South Korea, FHL91XC91X-A,1x50mm2, - ISO 19642 | 17.5 | 0 | -0.8 | 16.7 | 17.5 | 14.1 | M25 / M32 | 175
68 | Normkabel, 1x 50mm2, dickwandig, - ISO 19642-9 | 17.5 | 0 | -0.8 | 16.7 | 17.5 | 14.1 | M25 / M32 | 175
69 | Amphenol 1x50mm2, PowerLink, CP710500 - ISO 6722 | 17 | 0.5 | 0 | 17 | 17.5 | 14.1 | M25 / M32 | 175
70 | Tramadox TI Brasil, 1x 50mm2, Art 02.20.1.0006, ISI 6722 | 17 | 0.3 | -0.3 | 16.7 | 17.3 | 13.3 | M25 / M32 | 175
71 | Tramadox TI Brasil, 4x 4mm2, Art 02.20.4.0002, ISI 6722 | 17.25 | 0.3 | -0.3 | 16.95 | 17.55 | 13.5 | M25 / M32 | 175
72 | Normkabel, 4x 2.5mm2, dickwandig, - ISO 19642-9 | 17.7 | 0 | -1 | 16.7 | 17.7 | 14.2 | M25 / M32 | 184
73 | Leoni BetaTrans, 1x 70mm2, Art.-Nr. 315141 | 17.9 |  |  | 17.9 | 17.9 |  | M25 / M32 | 184
74 | Coroflex LV216-2, 1x 70mm2, Art. 9-2611 | 18.2 | 0 | -0.8 | 17.4 | 18.2 | 14.8 | M25 / M32 | 184
75 | Leoni Silitherm, 70mm2, | 17.9 | 0.3 | 0.3 | 18.2 | 18.2 | 14.8 | M25 / M32 | 184
76 | H+S, Radox, 1x 95mm2, Art.-Nr. 85 010 928 - ISO 19642-9 "Flex" | 19.5 | 0.4 | -0.4 | 19.1 | 19.9 | 17.7 | M32 | 200
77 | LS Cable South Korea, FHL91XC91X-A,1x70mm2, - ISO 19642 | 19.7 | 0 | -0.8 | 18.9 | 19.7 | 16.1 | M32 | 200
78 | Normkabel, 1x 70mm2, dickwandig, - ISO 19642-9 | 19.7 | 0 | -0.8 | 18.9 | 19.7 | 16.1 | M32 | 200
79 | LS Cable South Korea, FHLR2GC2G-A,1x95mm2, - ISO 19642 | 19.9 | 0 | -0.8 | 19.1 | 19.9 | 17.3 | M32 | 200
80 | Normkabel, 1x 95mm2, dünnwandig, - ISO 19642-9 | 19.9 | 0 | -0.8 | 19.1 | 19.9 | 17.5 | M32 | 200
81 | Normkabel, 3x 10mm2, dickwandig, - ISO 19642-9 | 19.9 | 0 | -1.1 | 18.8 | 19.9 | 16.2 | M32 | 200
82 | Leoni BetaTrans, 1x 95mm2, Art.-Nr. 315142 | 20 |  |  | 20 | 20 |  | M32 | 200
83 | Brugg Kabel 3x 10mm2, FL11YC11Y - Art. 533000 | 19.5 |  |  | 19.5 | 19.5 | 16.9 | M32 | 200
84 | Leoni Hivocar 200 S single core, 1x 70mm2, ISO 6722 | 20 | 0 | -0.8 | 19.2 | 20 | 17.5 | M32 | 200
85 | Amphenol 1x70mm2, PowerLink, Art CP710700- ISO 6722 | 19.5 | 0.5 | 0 | 19.5 | 20 | 16.3 | M32 | 200
86 | Tramadox TI Brasil, 1x 70mm2, Art 02.20.1.0007, ISI 6722 | 19.7 | 0.3 | 0 | 19.7 | 20 | 15.6 | M32 | 200
87 | Leoni Silitherm LV216-2, 1x 95mm2 | 20.6 | 0 | -0.3 | 20.3 | 20.6 | 18 | M32 | 210
88 | Tramadox TI Brasil, 3x 10mm2, Art 02.20.4.0003, ISI 6722 | 20.6 | 0.3 | -0.3 | 20.3 | 20.9 | 16.85 | M32 | 210
89 | Brugg Kabel 1x 95mm2, FL11YC11Y - Art. 533006 | 22.5 |  |  | 22.5 | 22.5 | 18.2 | M32 | 210
90 | Coroflex LV216-2, 1x 120mm2, Art. 9-2621 | 23 | 0 | -0.8 | 22.2 | 23 | 19.7 | M32 | 231
91 | Kroschu LV216-2, 1x 120mm2, Art. 64997453 | 23 | 0 | -0.8 | 22.2 | 23 | 19.7 | M32 | 231
92 | H+S, Radox, 1x 120mm2, Art.-Nr. 85 010 929 - ISO 19642-9 "Flex" | 22.6 | 0.4 | -0.4 | 22.2 | 23 | 20.7 | M32 | 231
93 | Normkabel, 1x 120mm2, dünnwandig, - ISO 19642-9 | 22.9 | 0 | -0.8 | 22.1 | 22.9 | 20.5 | M32 | 231
94 | Amphenol 1x 95mm2, PowerLink, Art CP710950- ISO 6722 | 22.5 | 0.5 | -0.5 | 22 | 23 | 19.4 | M32 | 231

## English
Cable validation list
Update date: |  | 2022-11-21 | English version
The following statements refer to AGRO AG cable glands series 1089, EVolution EMC.
Notes on the exams:
IP68 Not every single cable has been tested. Based on our experience and the tests carried out over the last decades, or tests with comparable cables, we come to the statement in the table below. If a test with a test report is required, please contact us.
EN 62444 For single-core cables, the cable glands are tested with a test mandrel as a representative of the cable. This provides comparable measurement results of the different cable glands, which are not influenced by the different qualities of the cables. For this reason, the tests for the cables listed below in the EN 62444 column were carried out with a test mandrel in accordance with the standard. Translated with www.DeepL.com/Translator (free version)
IP6K9K For the IP6K9K test, we "only" performed the water part of the test in our own laboratory; we cannot perform the 6K dust test according to ISO 20653 in our laboratory. However, the tests carried out for the IP6X test (EN IEC 60529), which is tested at IP68, are more demanding, because here the test is carried out with negative pressure.
Requirements met In the case of standardized cables, not all cables from the various manufacturers are tested. Since the cables comply with a standard, we consider it sufficient if only one cable is tested for the same cables from different manufacturers and this result is also used as a basis for the same cables from other manufacturers. If a test with a test report is required, please ask us.
Exams
Cable type | Manufacturer | Cable cross section [mm²] | Item number | M-thread | 1089 EVolution EMC Size | Cable norm | IP68 | IP6K9K | EN 62444 Strain relief version B [N] | Requirements met
Single conductor | Coroplast / Coroflex | 16 | 9-2610 / 9-2611 | M20 | 103 | LV 216-2 | þ | þ | >120 | þ
Single conductor | Kromberg + Schubert | 16 | 64995560 | M20 | 103 | LV 216-2 | þ | þ | >120 | þ
Single conductor | Huber + Suhner | 16 | Radox 155(S) 84 116 032 | M20 | 098 | ISO 14572/ISO 19642-9 | þ | þ | >120 | þ
Single conductor | Huber + Suhner | 25 | Radox 155(S) 84 100 604 | M20 | 114 | ISO 14572/ISO 19642-9 | þ | þ | >130 | þ
Single conductor | Champlain | 25 | FHLR13XC13X | M20 | 114 | ISO-19642-9 | þ | þ | >130 | þ
Single conductor | Coroflex | 35 | 9-2611 | M20 / M25 | 146 | LV 216-2 | þ | þ | >130 | þ
Single conductor | Kromberg + Schubert | 35 | 64995564 | M20 / M25 | 146 | LV 216-2 | þ | þ | >130 | þ
Single conductor | Huber + Suhner | 35 | Radox 155(S) 84 100 296 | M20 / M25 | 132 | ISO 14572/ISO 19642-9 | þ | þ | >130 | þ
Single conductor | Leoni Silitherm | 50 | FHLR2GCB2G 00019 | M25 | 160 | LV 216-2 | þ | þ | >140 | þ
Single conductor | Kromberg + Schubert | 50 | 64995566 | M25 | 160 | LV 216-2 | þ | þ | >140 | þ
Single conductor | Huber + Suhner | 50 | Radox 155(S) 84 096 257 | M25 | 154 | ISO 14572/ISO 19642-9 | þ | þ | >130 | þ
Single conductor | Coroflex | 50 | 9-2611 FHLR2GCB2G | M25 | 160 | LV 216-2 | þ | þ | >140 | þ
Single conductor | Kromberg + Schubert | 70 | 64997451 | M25 / M32 | 184 | LV 216-2 | þ | þ | >140 | þ
Single conductor | Huber + Suhner | 70 | Radox 155(S) 84 100 298 | M25 / M32 | 175 | ISO 14572/ISO 19642-9 | þ | þ | >140 | þ
Single conductor | Kromberg + Schubert | 95 | 64997452 | M32 | 210 | LV 216-2 | þ | þ | >140 | þ
Single conductor | Coroflex | 95 | 9-2611 | M32 | 210 | LV 216-2 | þ | þ | >140 | þ
Single conductor | Huber + Suhner | 95 | Radox 155(S) 84 100 299 | M32 | 200 | ISO 14572/ISO 19642-9 | þ | þ | >140 | þ
Single conductor | Kromberg + Schubert | 120 | 64997453 | M32 | 231 | LV 216-2 | þ | þ | >140 | þ
Single conductor | Leoni Silitherm | 120 | FHLR2GCB2G 000113 | M32 | 231 | LV 216-2 | þ | þ | >140 | þ
Single conductor | Huber + Suhner | 120 | Radox 155(S) 84 103 410 | M32 | 227 | ISO 14572/ISO 19642-9 | þ | þ | >140 | þ
Multi conductor | Kromberg + Schubert | 2x2,5 | 64996918 | M20 | 098 | LV 216-2 | þ | þ | >120 | þ
Multi conductor | Coroflex | 2x2,5 | 9-2641 FHLR2GCB2G | M20 | 098 | LV 216-2 | þ | þ | >120 | þ
Multi conductor | Coroflex | 2x4 | 64997774 | M20 | 114 | LV 216-2 | þ | þ | >130 | þ
Multi conductor | Kromberg + Schubert | 2x4 | 64997293 | M20 | 114 | LV 216-2 | þ | þ | >130 | þ
Multi conductor | Coroflex | 2x4 | 9-2641 FHLR2GCB2G | M20 | 114 | LV 216-2 | þ | þ | >130 | þ
Multi conductor | Leoni Silitherm | 2x4 | FHLR2G2GCB2G 00002 | M20 | 114 | LV 216-2 | þ | þ | >130 | þ
Multi conductor | Kromberg + Schubert | 2x4 + 2x0,5 | 64994093 | M20 | 114 | LV 216-2 | þ | þ | >130 | þ
Multi conductor | Kromberg + Schubert | 2x6 | 64997213 | M20 / M25 | 132 | LV 216-2 | þ | þ | >130 | þ
Multi conductor | Kromberg + Schubert | 2x6 | 64995979 | M20 / M25 | 132 | LV 216-2 | þ | þ | >130 | þ
Multi conductor | Kromberg + Schubert | 2x6 | 64995731 | M20 | 114 | LV 216-2 | þ | þ | >130 | þ
Multi conductor | Kromberg + Schubert | 2x6 | 64997775 | M20 / M25 | 132 | LV 216-2 | þ | þ | >130 | þ
Multi conductor | Coroflex | 2x6 | 9-2641 FHLR2GCB2G | M20 / M25 | 132 | LV 216-2 | þ | þ | >130 | þ
Multi conductor | Brugg | 3x6 | FL11YCB11Y | M25 | 154 | keine Info | þ | þ | >130 | þ
Multi conductor | Huber + Suhner | 3x6 | Radox 155(S) 85 025 197 | M20 / M25 | 132 | ISO 14572/ISO 19642-9 | þ | þ | >130 | þ
Multi conductor | Huber + Suhner | 4x2,5 | Radox 155(S) 12 585 651 | M20 | 098 | ISO 14572/ISO 19642-9 | þ | þ | >120 | þ
Multi conductor | Huber + Suhner | 4x4 | Radox 155(S) 12 585 652 | M20 | 114 | ISO 14572/ISO 19642-9 | þ | þ | >130 | þ
Multi conductor | Leoni Silitherm | 4x6 | FHLR2G2GCB2G 00011 | M25 | 154 | LV 216-2 | þ | þ | >130 | þ
Multi conductor | Huber + Suhner | 4x6 | Radox 155(S) 85 070 512 | M20 / M25 | 132 | ISO 14572/ISO 19642-9 | þ | þ | >130 | þ
Multi conductor | Huber + Suhner | 4x10 | Radox 155(S) 84 137 053 | M25 / M32 | 175 | ISO 14572/ISO 19642-9 | þ | þ | >140 | þ
Multi conductor | Coroflex | 5x6 | 9-2641 FHLR2GCB2G | M25 | 160 | LV 216-2 | þ | þ | >140 | þ
Multi conductor | Kromberg + Schubert | 5x6 | 64997778 | M25 | 160 | LV 216-2 | þ | þ | >140 | þ

## additional cables
Further cables, which fit to the EVolution EMC components
but have not yet been validated.
Toleranz AD_cable
| Cable type | AD_cable | Upper tolerance | lower tolerance | min. AD_cable | max. AD_cable | SD | M-thread | 1089 EVolution EMC Size
1 | cable standard ISO 19642-9, 3x 2.5mm2, thin wall | 9.5 | 0 | -0.7 | 8.8 | 9.5 | 7.6 | M20 | 98
2 | LS Cable South Korea, FHLR2GC2G-A,1x16mm2, - ISO 19642 | 9.6 | 0 | -0.6 | 9 | 9.6 | 7.6 | M20 | 98
3 | cable standard ISO 19642-9, 1x 16mm2, thin wall, - | 9.6 | 0 | -0.6 | 9 | 9.6 | 7.8 | M20 | 98
4 | LS Cable South Korea, FHL91XC91X-A,1x10mm2,- ISO 19642 | 9.7 | 0 | -0.6 | 9.1 | 9.7 | 7 | M20 | 98
5 | cable standard ISO 19642-9, 1x 10mm2, thick wall | 9.7 | 0 | -0.6 | 9.1 | 9.7 | 7.1 | M20 | 98
6 | Leoni Silitherm, 2x2.5mm2, Art.-Nr. FHLR2G2GCB2G 00001 | 9.7 | 0.2 | -0.2 | 9.5 | 9.9 | 7.5 | M20 | 98
7 | Leoni Hivocar 200 S multi core, 2x 2.5mm2, ISO 6722 | 9.9 | 0 | -0.6 | 9.3 | 9.9 | 7.5 | M20 | 98
8 | Leoni Silitherm, 3x 2.5mm2, Art.-Nr. FHLR2G2GCB2G 00004 | 10 | 0.2 | -0.2 | 9.8 | 10.2 | 8.1 | M20 | 103
9 | H+S, Radox, 2x 4mm2, Art.-Nr. 12 582 308 - ISO 19642-9 | 10.2 | 0.3 | -0.3 | 9.9 | 10.5 | 7.8 | M20 | 103
10 | Leoni BetaTrans, 1x 16mm2, Art.-Nr. 315137 | 10 |  |  | 10 | 10 |  | M20 | 103
11 | H+S, Radox, 3x 4mm2, Art.-Nr. 84 090 304 - ISO 19642-9 | 10.1 | 0.4 | 0.4 | 10.5 | 10.5 | 8.4 | M20 | 103
12 | Leoni BetaTrans, 3x 2.5mm2, Art.-Nr. * | 10.3 |  |  | 10.3 | 10.3 |  | M20 | 103
13 | Coroflex, 3x 2.5mm2, Art-Nr. 9-2641 | 10.4 | 0 | -0.6 | 9.8 | 10.4 | 8.1 | M20 | 103
14 | Leoni Hivocar 200 S multi core, 3x 2.5mm2 | 10.4 | 0 | -0.6 | 9.8 | 10.4 | 8.2 | M20 | 103
15 | Leoni Hivocar 200 S single core, 1x16mm2, ISO 6722 | 10.2 | 0 | -0.6 | 9.6 | 10.2 | 7.8 | M20 | 103
16 | cable standard ISO 19642-9, 4x 2.5mm2, thin wall | 10.4 | 0 | -0.7 | 9.7 | 10.4 | 8.4 | M20 | 103
17 | Brugg cable 1x 16mm2, FL11YC11Y - Art.-Nr.533007 | 10.2 |  |  | 10.2 | 10.2 | 7.8 | M20 | 103
18 | cable standard ISO 19642-9, 2x 4mm2, thin wall | 10.6 | 0 | -0.7 | 9.9 | 10.6 | 8.6 | M20 | 114
19 | H+S, Radox, 1x 25mm2, Art.-Nr. 85 128 293 - ISO 19642-9 "Flex" | 11 | 0.3 | -0.3 | 10.7 | 11.3 |  | M20 | 114
20 | H+S, Radox, 2x 6mm2, Art.-Nr. 12 584 915 - ISO 19642-9 | 11 | 0.4 | -0.4 | 10.6 | 11.4 | 9 | M20 | 114
21 | cable standard ISO 19642-9, 3x 4mm2, thin wall | 11.2 | 0 | -0.7 | 10.5 | 11.2 | 9.2 | M20 | 114
22 | Coroflex, 4x 2.5mm2, Art-Nr. 9-2641 | 11.1 | 0 | -0.6 | 10.5 | 11.1 | 8.8 | M20 | 114
23 | Coroplast, 2x 4mm2, Art-Nr. 9-2641 | 11.3 | 0 | -0.6 | 10.7 | 11.3 | 8.8 | M20 | 114
24 | Leoni Hivocar 200 S multi core, 2x 4mm2 | 11.3 | 0 | -0.6 | 10.7 | 11.3 | 9.1 | M20 | 114
25 | LS Cable South Korea, FHLR2GC2G-A,1x 25mm2, - ISO 19642 | 11.3 | 0 | -0.6 | 10.7 | 11.3 | 9.2 | M20 | 114
26 | Kroschu, multi-core T125, 2x 4mm2, Art.-Nr.FHLR31Y9YCB11Y | 11.3 | 0 | -0.6 | 10.7 | 11.3 | 8.7 | M20 | 114
27 | cable standard ISO 19642-9, 1x 25mm2, thin wall | 11.3 | 0 | -0.6 | 10.7 | 11.3 | 9.2 | M20 | 114
28 | cable standard ISO 19642-9, 2x 2.5mm2, thick wall | 11.9 | 0 | -0.8 | 11.1 | 11.9 | 8.7 | M20 | 114
29 | Amphenol 1x16mm2, PowerLink - ISO 6722 | 11.2 | 0.3 | 0 | 11.2 | 11.5 | 8.75 | M20 | 114
30 | Leoni BetaTrans, 1x 25mm2, Art.-Nr. 315138 | 12.5 |  |  | 12.5 | 12.5 |  | M20 / M25 | 132
31 | cable standard ISO 19642-9, 3x 2.5mm2, thick wall | 12.5 | 0 | -0.8 | 11.7 | 12.5 | 9.5 | M20 / M25 | 132
32 | Leoni Silitherm, 2x6mm2, Art.-Nr. FHLR2G2GCB2G 00003 | 12.6 | 0.2 | -0.2 | 12.4 | 12.8 | 10.3 | M20 / M25 | 132
33 | cable standard ISO 19642-9, 3x 6mm2, thin wall | 12.7 | 0 | -0.8 | 11.9 | 12.7 | 10.5 | M20 / M25 | 132
34 | Leoni Hivocar 200 S multi core, 2x 6mm2 | 12.8 | 0 | -0.6 | 12.2 | 12.8 | 10.4 | M20 / M25 | 132
35 | H+S, Radox, 2x 8mm2, Art.-Nr. 85 028 256 - ISO 19642-9 | 12.8 | 0.4 | -0.4 | 12.4 | 13.2 | 11 | M20 / M25 | 132
36 | H+S, Radox, 1x 35mm2, Art.-Nr. 85 128 292 - ISO 19642-9 | 12.9 | 0.3 | -0.3 | 12.6 | 13.2 |  | M20 / M25 | 132
37 | Leoni Silitherm, 4x4mm2, Art.-Nr. FHLR2G2GCB2G 00012 | 13.1 | 0.2 | -0.2 | 12.9 | 13.3 | 10.5 | M20 / M25 | 132
38 | LS Cable South Korea, FHLR2GC2G-A,1x35mm2, - ISO 19642 | 13.2 | 0 | -0.6 | 12.6 | 13.2 | 10.8 | M20 / M25 | 132
39 | cable standard ISO 19642-9, 1x 35mm2, thin wall | 13.2 | 0 | -0.6 | 12.6 | 13.2 | 11 | M20 / M25 | 132
40 | Coroflex, 4x 4mm2, Art-Nr. 9-2641 | 13.3 | 0 | -0.6 | 12.7 | 13.3 | 10.8 | M20 / M25 | 132
41 | Kroschu, multi-core T125, 4x4mm2, Art.-Nr.FHLR31Y9YCB11Y | 13.3 | 0 | -0.6 | 12.7 | 13.3 | 10.8 | M20 / M25 | 132
42 | Leoni BetaTrans, 4x 4mm2, Art.-Nr. 316001 | 14.2 |  |  | 14.2 | 14.2 |  | M20 / M25 | 146
43 | Leoni Silitherm, 5x4mm2, Art.-Nr. FHLR2G2GCB2G 00008 | 14.2 | 0.3 | -0.3 | 13.9 | 14.5 | 11.8 | M20 / M25 | 146
44 | Leoni Hivocar 200 S single core, 1x 35mm2, ISO 6722 | 14.4 | 0 | -0.6 | 13.8 | 14.4 |  | M20 / M25 | 146
45 | H+S, Radox, 2x 10mm2, Art.-Nr. 84 152 097 - ISO 19642-9 | 14.4 | 0.4 | -0.4 | 14 | 14.8 | 12.4 | M20 / M25 | 146
46 | H+S, Radox, 5x 6mm2, Art.-Nr. 84 130 729 - ISO 19642-9 | 14.4 | 0.4 | -0.4 | 14 | 14.8 | 12.4 | M20 / M25 | 146
47 | Coroflex, 5x 4mm2, Art-Nr. 9-2641 | 14.5 | 0 | -0.6 | 13.9 | 14.5 | 11.9 | M20 / M25 | 146
48 | cable standard ISO 19642-9, 3x 4mm2, dickwandid | 14.6 | 0 | -0.6 | 14 | 14.6 | 11.2 | M20 / M25 | 146
49 | Brugg cable, 3x 6mm2, FL11YBC11Y - Art. 533016 | 14.5 |  |  | 14.5 | 14.5 | 11.7 | M20 / M25 | 146
50 | Leoni BetaTrans, 3x 6mm2, Art.-Nr. 316002 | 14.8 |  |  | 14.8 | 14.8 |  | M25 | 154
51 | H+S, Radox, 1x 50mm2, Art.-Nr. 85 128 294 - ISO 19642-9 "Flex" | 14.9 | 0.3 | -0.3 | 14.6 | 15.2 | 13 | M25 | 154
52 | Coroflex, 4x 6mm2, Art-Nr. 9-2641 | 15.1 | 0 | -0.6 | 14.5 | 15.1 | 12.1 | M25 | 154
53 | LS Cable South Korea, FHLR2GC2G-A,1x50mm2, - ISO 19642 | 15.2 | 0 | -0.6 | 14.6 | 15.2 | 12.7 | M25 | 154
54 | cable standard ISO 19642-9, 1x 50mm2, thin wall | 15.2 | 0 | -0.6 | 14.6 | 15.2 | 12.8 | M25 | 154
55 | cable standard ISO 19642-9, 2x 2.5mm2, thick wall | 15.2 | 0 | -0.9 | 14.3 | 15.2 | 11.8 | M25 | 154
56 | LS Cable South Korea, FHL91XC91X-A,1x35mm2, - ISO 19642 | 15.4 | 0 | -0.6 | 14.8 | 15.4 | 12.2 | M25 | 154
57 | cable standard ISO 19642-9, 1x 35mm2, thick wall | 15.4 | 0 | -0.6 | 14.8 | 15.4 | 12.2 | M25 | 154
58 | Amphenol 1x35mm2, PowerLink - ISO 6722 | 14.5 | 0.5 | 0 | 14.5 | 15 | 12.2 | M25 | 154
59 | Brugg cable 1x 50mm2, FL11YC11Y - Art. 533004 | 14.9 |  |  | 14.9 | 14.9 | 11.9 | M25 | 154
60 | cable standard ISO 19642-9, 2x 10mm2, thin wall | 15.7 | 0 | -0.9 | 14.8 | 15.7 | 13.6 | M25 | 160
61 | Leoni Hivocar 200 S single core, 1x 50mm2, ISO 6722 | 15.8 | 0 | -0.8 | 15 | 15.8 | 12.8 | M25 | 160
62 | Tramadox TI Brasil, 3x 6mm2, Art 02.20.1.0004, ISI 6722 | 15.45 | 0.3 | -0.3 | 15.15 | 15.75 | 11.75 | M25 | 160
63 | H+S, Radox, 1x 70mm2, Art.-Nr. 85 010 927 - ISO 19642-9 "Flex" | 17 | 0.4 | -0.4 | 16.6 | 17.4 | 15.2 | M25 / M32 | 175
64 | Leoni BetaTrans, 3x10mm2, Art.-Nr. * | 17.4 |  |  | 17.4 | 17.4 |  | M25 / M32 | 175
65 | LS Cable South Korea, FHLR2GC2G-A,1x70mm2, - ISO 19642 | 17.4 | 0 | -0.8 | 16.6 | 17.4 | 14.9 | M25 / M32 | 175
66 | cable standard ISO 19642-9, 1x 70mm2, thin wall | 17.4 | 0 | -0.8 | 16.6 | 17.4 | 15 | M25 / M32 | 175
67 | LS Cable South Korea, FHL91XC91X-A,1x50mm2, - ISO 19642 | 17.5 | 0 | -0.8 | 16.7 | 17.5 | 14.1 | M25 / M32 | 175
68 | cable standard ISO 19642-9, 1x 50mm2, thick wall | 17.5 | 0 | -0.8 | 16.7 | 17.5 | 14.1 | M25 / M32 | 175
69 | Amphenol 1x50mm2, PowerLink, CP710500 - ISO 6722 | 17 | 0.5 | 0 | 17 | 17.5 | 14.1 | M25 / M32 | 175
70 | Tramadox TI Brasil, 1x 50mm2, Art 02.20.1.0006, ISI 6722 | 17 | 0.3 | -0.3 | 16.7 | 17.3 | 13.3 | M25 / M32 | 175
71 | Tramadox TI Brasil, 4x 4mm2, Art 02.20.4.0002, ISI 6722 | 17.25 | 0.3 | -0.3 | 16.95 | 17.55 | 13.5 | M25 / M32 | 175
72 | cable standard ISO 19642-9, 4x 2.5mm2, thick wall | 17.7 | 0 | -1 | 16.7 | 17.7 | 14.2 | M25 / M32 | 184
73 | Leoni BetaTrans, 1x 70mm2, Art.-Nr. 315141 | 17.9 |  |  | 17.9 | 17.9 |  | M25 / M32 | 184
74 | Coroflex LV216-2, 1x 70mm2, Art. 9-2611 | 18.2 | 0 | -0.8 | 17.4 | 18.2 | 14.8 | M25 / M32 | 184
75 | Leoni Silitherm, 70mm2, | 17.9 | 0.3 | 0.3 | 18.2 | 18.2 | 14.8 | M25 / M32 | 184
76 | H+S, Radox, 1x 95mm2, Art.-Nr. 85 010 928 - ISO 19642-9 "Flex" | 19.5 | 0.4 | -0.4 | 19.1 | 19.9 | 17.7 | M32 | 200
77 | LS Cable South Korea, FHL91XC91X-A,1x70mm2, - ISO 19642 | 19.7 | 0 | -0.8 | 18.9 | 19.7 | 16.1 | M32 | 200
78 | cable standard ISO 19642-9, 1x 70mm2, thick wall | 19.7 | 0 | -0.8 | 18.9 | 19.7 | 16.1 | M32 | 200
79 | LS Cable South Korea, FHLR2GC2G-A,1x95mm2, - ISO 19642 | 19.9 | 0 | -0.8 | 19.1 | 19.9 | 17.3 | M32 | 200
80 | cable standard ISO 19642-9, 1x 95mm2, thin wall | 19.9 | 0 | -0.8 | 19.1 | 19.9 | 17.5 | M32 | 200
81 | cable standard ISO 19642-9, 3x 10mm2, thick wall | 19.9 | 0 | -1.1 | 18.8 | 19.9 | 16.2 | M32 | 200
82 | Leoni BetaTrans, 1x 95mm2, Art.-Nr. 315142 | 20 |  |  | 20 | 20 |  | M32 | 200
83 | Brugg cable 3x 10mm2, FL11YC11Y - Art. 533000 | 19.5 |  |  | 19.5 | 19.5 | 16.9 | M32 | 200
84 | Leoni Hivocar 200 S single core, 1x 70mm2, ISO 6722 | 20 | 0 | -0.8 | 19.2 | 20 | 17.5 | M32 | 200
85 | Amphenol 1x70mm2, PowerLink, Art CP710700- ISO 6722 | 19.5 | 0.5 | 0 | 19.5 | 20 | 16.3 | M32 | 200
86 | Tramadox TI Brasil, 1x 70mm2, Art 02.20.1.0007, ISI 6722 | 19.7 | 0.3 | 0 | 19.7 | 20 | 15.6 | M32 | 200
87 | Leoni Silitherm LV216-2, 1x 95mm2 | 20.6 | 0 | -0.3 | 20.3 | 20.6 | 18 | M32 | 210
88 | Tramadox TI Brasil, 3x 10mm2, Art 02.20.4.0003, ISI 6722 | 20.6 | 0.3 | -0.3 | 20.3 | 20.9 | 16.85 | M32 | 210
89 | Brugg cable 1x 95mm2, FL11YC11Y - Art. 533006 | 22.5 |  |  | 22.5 | 22.5 | 18.2 | M32 | 210
90 | Coroflex LV216-2, 1x 120mm2, Art. 9-2621 | 23 | 0 | -0.8 | 22.2 | 23 | 19.7 | M32 | 231
91 | Kroschu LV216-2, 1x 120mm2, Art. 64997453 | 23 | 0 | -0.8 | 22.2 | 23 | 19.7 | M32 | 231
92 | H+S, Radox, 1x 120mm2, Art.-Nr. 85 010 929 - ISO 19642-9 "Flex" | 22.6 | 0.4 | -0.4 | 22.2 | 23 | 20.7 | M32 | 231
93 | cable standard ISO 19642-9, 1x 120mm2, thin wall | 22.9 | 0 | -0.8 | 22.1 | 22.9 | 20.5 | M32 | 231
94 | Amphenol 1x 95mm2, PowerLink, Art CP710950- ISO 6722 | 22.5 | 0.5 | -0.5 | 22 | 23 | 19.4 | M32 | 231